## Slide 1
FURNISHING REAL TIME/DAILY RENEWABLE ENEGRY GENERATION DATA
STATUS AS ON 01.05.2018
SLDC, TANTRANSCO
Notes: <number>

## Slide 2
TN Contributes to 16% of country’s RE installed capacity
MW
RE contributes to 38% of total Installed Capacity of TamilNadu

## Slide 3
RES Installed capacity – 11113 MW
Annual Generation – more than 15000 million units

## Slide 4: CURRENT STATUS OF REAL TIME WIND DATA
The total wind installed capacity is 8152 MW, as on 31.03.2018.
Sl. No | Description | No. of SS
01. | Total No. of SS | 115
02. | Real time achieved | 115
Annual Generation – more than 12000 million units

## Slide 5: Real time data – Architecture

## Slide 6: WIND - REAL TIME DATA ACQUISITION
<number>
ABT meters provided in all the feeders, RE pooling SS
DCUs / MODEMs installed in all RE Pooling SS
    Wind farm Substations / Tirunelveli / Udumalpet
    Distribution Sub Stations / Tirunelveli / Udumalpet
    Pooling station/feeder wise meter data through the modems
    being obtained through MPLS connectivity.

## Slide 7: REAL TIME DATA ACQUISITION ALTERNATE SCHEME
Provision of SIM in DCUs and data transmission through GPRS to AMR server, and the same is viewed in the TNEB intranet portal.
The real data connectivity to SLDC-SCADA in 104 protocol is under testing phase.

## Slide 8
AMR SERVER SYSTEM

## Slide 9
WIND REAL TIME GENERATION

## Slide 10: Real Time Wind Generation Data

## Slide 11: Real Time Wind Generation Data

## Slide 14: CURRENT STATUS OF REAL TIME SOLAR DATA
Sl. No | Description | MW
01. | Solar Installed Capacity | 1900
02. | Real time achieved | 708
Annual Generation – more than 2500 million units

## Slide 17
SOLAR REAL TIME GENERATION

## Slide 18
THANK YOU