## Slide 1
Presentation by
Maharashtra State Load Despatch Centre
Receipt of Real Time/ Daily Renewable Energy Generation Data
04th May, 2018
Notes: <number>

## Slide 2
MAHARASHTRA STATE INSTALLED CAPACITY (as on 31.03.2018) |  |  |  |  |  | 
Maharashtra System Peak Installed Derated Capacity along with its CS Share |  |  |  |  |  | 
Particulars | Hydro | Thermal | Gas | Nuclear | NCE | Total
MSPGCL | 2450 | 10170 | 672 | 0 | 180 | 13472
TPCL | 447 | 1250 | 180 | 0 | 205 | 2082
REL | 0 | 500 | 0 | 0 | 93 | 593
IPP / CPP | 44 | 9125 | 388 | 0 | 7998 | 17555
CS(MS) | 445 | 5315 | 1903 (*) | 755 | 0 | 8418
Total | 3386 | 26360 | 3143 | 755 | 8476 | 42120
(*) RGPPL 95 % capacity to MSEDCL, Not availed.

## Slide 4
Wind Plant Details (1/2)

## Slide 5
Wind Plant Details (2/2)

## Slide 6
Solar Plant Details

## Slide 7
ENTRY_DATE | Hrs | Wind (In MW)
30-Apr-18 | 1 | 1636
30-Apr-18 | 2 | 1681
30-Apr-18 | 3 | 1362
30-Apr-18 | 4 | 1377
30-Apr-18 | 5 | 1370
30-Apr-18 | 6 | 1294
30-Apr-18 | 7 | 1229
30-Apr-18 | 8 | 1035
30-Apr-18 | 9 | 1016
30-Apr-18 | 10 | 931
30-Apr-18 | 11 | 932
30-Apr-18 | 12 | 1040
30-Apr-18 | 13 | 1173
30-Apr-18 | 14 | 1289
30-Apr-18 | 15 | 1196
30-Apr-18 | 16 | 1387
30-Apr-18 | 17 | 1513
30-Apr-18 | 18 | 1811
30-Apr-18 | 19 | 1544
30-Apr-18 | 20 | 1282
30-Apr-18 | 21 | 1132
30-Apr-18 | 22 | 1250
30-Apr-18 | 23 | 1352
30-Apr-18 | 24 | 1472
Hourly Wind Generation for the Date 30.04.2018

## Slide 8
ENTRY_DATE | Hrs | Solar (In MW)
30-Apr-18 | 1 | 0
30-Apr-18 | 2 | 0
30-Apr-18 | 3 | 0
30-Apr-18 | 4 | 0
30-Apr-18 | 5 | 0
30-Apr-18 | 6 | 0
30-Apr-18 | 7 | 42
30-Apr-18 | 8 | 223
30-Apr-18 | 9 | 479
30-Apr-18 | 10 | 692
30-Apr-18 | 11 | 826
30-Apr-18 | 12 | 892
30-Apr-18 | 13 | 907
30-Apr-18 | 14 | 868
30-Apr-18 | 15 | 737
30-Apr-18 | 16 | 604
30-Apr-18 | 17 | 381
30-Apr-18 | 18 | 162
30-Apr-18 | 19 | 16
30-Apr-18 | 20 | 0
30-Apr-18 | 21 | 0
30-Apr-18 | 22 | 0
30-Apr-18 | 23 | 0
30-Apr-18 | 24 | 0
Hourly Solar Generation for the Date 30.04.2018

## Slide 9
<number>
Summary ..
Maharashtra state renewable installed capacity is 8476 MW which is 20.12% of the total installed capacity of 42120 MW.
Real Time visibility of 7729 MW renewable installed capacity is available at SLDC which is 91.18% of total renewable capacity of 8476 MW.
Remaining renewable generators ( old wind plants and small hydro/biomass plants) have been asked to provide real time data to SLDC.
Real time data of available renewable generation is being forwarded to the WRLDC over ICCP data link. WRLDC further forwards this data to NLDC, New Delhi over ICCP data link.
Daily Generation Data is being sent regularly through E-mail to CE(Operation)CEA.
Renewable real time data is also made available at website www.mahasldc.in at 15 min. time interval.
Though the real time visibility is provided at SLDC by the Renewable Energy generators, communication links from plant to SLDC are not maintained and continuous data is not available
The Commercial mechanism (may be some penal charges based on availability percentage during the month) to maintain continuous data to SLDC needs to be developed and implemented.
Data Sharing
Suggestion
Issues